## Slide 1: CE 3372 Water Systems Design
Pipe hydraulics part 1(Fall 2020)

## Slide 2: Flow characteristics
Water moves from higher to lower energy
  Path of least resistance
  Head is energy per unit weight of a fluid
  Pumps are used to add energy to move water to a higher elevation or over a barrier
Gravity flow:
  Change in elevation provides the required energy
Pressure flow:
  Change in pressure provides the required energy

## Slide 3: Flow rate
Flow of water creates friction/resistance; hence there is loss of energy along a flow path
Mean section velocity is related to cross sectional flow area and volumetric discharge

## Slide 4: CONTINUNITY AT SECTIONS

## Slide 5: CONTINUNITY AT A JUNCTION

## Slide 6: Energy Equation
The energy equation relates the total dynamic head at two points in a system, accounting for frictional losses and any added head from a pump.
hL =
hp =
ht =
head supplied by a pump
head recovered by a turbine
head lost to friction

## Slide 7: Energy Equation
1
2

## Slide 8: Pipe flow
Energy loss is influenced by hydraulic and geometric properties
Hydraulic properties:
  Material (roughness)
  Components (valves, bends, tees, … )
  Operating pressure
Geometric properties:
  Length
  Cross section (shape and area)

## Slide 9: Hydraulic grade line
HGL is a line that represents the surface/profile of water flowing in partially full pipe
If pipe is under pressure, flowing full the HGL rises to where a free surface would exist if there were a piezometer installed in the pipeline

## Slide 10: Energy grade line
EGL is a line that represents the elevation of energy head of water flowing in a conduit. It is the sum of the elevation, pressure, and velocity head at a location
Drawn above HGL at a distance equal to the velocity head

## Slide 11: HGL/EGL