## Slide 1: CE 3372 Water Systems Design
Pipe hydraulics part 2 (Fall 2020)

## Slide 2: Energy Equation
The energy equation relates the total dynamic head at two points in a system, accounting for frictional losses and any added head from a pump.
hL =
hp =
ht =
head supplied by a pump
head recovered by a turbine
head lost to friction

## Slide 3: Energy equation application
Estimate discharge between two reservoirs:
      Head Loss is given as
Notes: Do analysis in class – build tool in class. Direct application of energy equation.

## Slide 4: HEAD LOSS MODELS
Head Loss Models (for losses in pipes)
  Darcy-Weisbach
    Moody Chart
    Jain Equations
  Hazen-Williams
  Chezy-Manning
Fitting (Minor) Losses

## Slide 5: Pipeline system
Pump Curve
Head Loss Model

## Slide 6: Darcy-Weisbach loss model for pipe loss
Frictional loss proportional to
      Length, Velocity**2
Inversely proportional to
      Cross sectional area
Loss coefficient (f) depends on
      Reynolds number (fluid and flow properties)
      Roughness height (pipe material properties)

## Slide 7: Moody Chart
Moody-Stanton chart is a tool to estimate the friction factor in the DW head loss model
Used for the pipe loss component of friction

## Slide 8: Examples
Three “classical” examples using Moody Chart
  Head loss for given discharge, diameter, material
  Discharge given head loss, diameter, material
  Diameter given discharge, head loss, material

## Slide 9: Example 1
  Head loss for given discharge, diameter, material

## Slide 10: Example 1
  Head loss for given discharge, diameter, material

## Slide 11: Example 1
  Head loss for given discharge, diameter, material

## Slide 12: Example 1
  Head loss for given discharge, diameter, material

## Slide 13: Example 1
  Head loss for given discharge, diameter, material

## Slide 14: Example 2
  Discharge given head loss, diameter, material

## Slide 15: Example 2
  Discharge given head loss, diameter, material

## Slide 16: Example 3
  Diameter given discharge, head loss, material

## Slide 17: Example 3
  Diameter given discharge, head loss, material

## Slide 18: Direct (Jain) Equations
An alternative to the Moody chart are regression equations that allow direct computation of discharge, diameter, or friction factor.

## Slide 19: Jain equations – Computational thinking/data science application
Build a Computational Tool (e.g JupyterLab as in ENGR 1330)
        State the programming problem
        Known (Inputs)
        Unknown (Outputs)
        Governing Equation(s)
        Test the tool

## Slide 20: Jain equations
Link to On-Line Tool
    A similar tool (to the Jupyter Notebook just developed) is available online at:
    http://atomickitty.ddns.net/documents/mytoolbox-server/Hydraulics/QGivenHeadLoss/QGivenHeadLoss.html

## Slide 22: Hazen-Williams
Frictional loss proportional to
      Length, Velocity^(1.8)
Inversely proportional to
      Cross section area (as hydraulic radius)
Loss coefficient (Ch) depends on
      Pipe material and finish
      Turbulent flow only (Re>4000)
WATER ONLY!

## Slide 23: Hazen-Williams
HW Head Loss
Discharge Form

## Slide 24: Hazen-williams
Hazen-Williams C-factor

## Slide 25: Example using hazen-williams formula

## Slide 26: Hydraulic Radius
HW is often presented as a velocity equation using the hydraulic radius

## Slide 27: Hydraulic Radius
The hydraulic radius is the ratio of cross section flow area to wetted perimeter

## Slide 28: Hydraulic Radius
For circular pipe, full flow (no free surface)
AREA
PERIMETER
D

## Slide 29: Chezy-Manning
Frictional loss proportional to
      Length, Velocity^2
Inversely proportional to
      Cross section area (as hydraulic radius)
Loss coefficient depends on
      Material, finish

## Slide 30: Fitting (Minor) Losses
Fittings, joints, elbows, inlets, outlets cause additional head loss.
Called “minor” loss not because of magnitude, but because they occur over short distances.
Typical loss model is

## Slide 31: Fitting (Minor) Losses
The loss coefficients are tabulated for different kinds of fittings

## Slide 32: Example – fitting (minor) losses

## Slide 33: Pipeline system
1
2
Pump Curve
Head Loss Model
Exit
Inlet
Elbow
Length_1
Length_2
=Length_1 + Length_2