## Slide 1: CE 3372 Water Systems Design
DRINKING WATER storage Part 1 (FALL 2020)

## Slide 2: Storage
Storage is used in water supply, storm water management, and wastewater systems for a variety of reasons.
  SERVICE STORAGE
    flow equalization — generally things are designed for a particular steady flow rate and storage can be used to accommodate variable flow rates in a system.
    Pressure zone maintenance
  EMERGENCY STORAGE
    used to provide supply during repairs and other system interrupts
  FIRE STORAGE
    used to provide supply during fire fighting activities – could logically be considered as part of emergency
Storage is either elevated (above grade), at grade (reservoir, tanks, ponds, etc.) or below grade (subsurface vaults — NOT AQUIFERS).

## Slide 3: Surface Reservoirs
Where natural elevation is high enough
For inexpensive pumped storage
Covered for protection (contamination, algae growth, evaporation)
Good temperature control

## Slide 4: Standpipes
Vertical cylindrical pipe
Height > diameter
Useful storage = volume above elevation needed for minimum pressure
Low storage useful for emergencies
Steel, reinforced concrete

## Slide 5: Composite Elevated Tanks

## Slide 6: Hydropillar™

## Slide 7: Hydropillar

## Slide 8: Water Spheroids

## Slide 9: Standpipe Ground Level

## Slide 10: Standpipes and Reservoirs

## Slide 11: Freshmix™ Standpipe Mixing

## Slide 12: Composite Elevated Tanks
Standard CET Dimensions |  |  | 
Capacity (in U.S. gallons) | Tank Diameter (in feet) | Head Range (in feet) | Pedestal Diameter (in feet)
1,000,000 | 70 | 40 | 36
1,500,000 | 87 | 40 | 48
2,000,000 | 94 | 45 | 52
2,500,000 | 105 | 45 | 60
3,000,000 | 118 | 45 | 64

## Slide 13: Typical installation

## Slide 14: Underground “tank”
More than a hole in the ground
  Needs structure to support surface loads
  Needs a way to drain completely (usually a pump)