## Slide 1: CE 3372 Water Systems Design
Lesson 18: STORM SEWER DESIGN EXAMPLE (GOODWIN STREET STORM SEWER)

## Slide 2: Design storm sewer for Goodwin street
“Rational Method Storm Sewer Design” in Mays, L. W. (2008) Water Resources Engineering. Pearson-Prentice Hall (pp. 613-635)
Method: Rational Equation Design Method to make initial design for subsequent hydraulics analysis

## Slide 3: Preparation steps
Identify the individual drainage areas.
Determine the area of each contributing area, in acres. (ENGAUGE, PLANIMETER, etc)
Determine the rational runoff coefficient for each area (TABLE LOOKUP)

## Slide 4: DRAINAGE AREA 1.1
Identify the individual drainage areas.

## Slide 5: DRAINAGE AREA 1.2
Identify the individual drainage areas.

## Slide 6: DRAINAGE AREA 2.1
Identify the individual drainage areas.

## Slide 7: DRAINAGE AREA 2.2
Identify the individual drainage areas.

## Slide 8: DRAINAGE AREA 3.1
Identify the individual drainage areas.

## Slide 9: DRAINAGE AREA 3.2
Identify the individual drainage areas.

## Slide 10: DRAINAGE AREA 3.3
Identify the individual drainage areas.

## Slide 11: DRAINAGE AREA 4.1
Identify the individual drainage areas.

## Slide 12: DRAINAGE AREA 4.2
Identify the individual drainage areas.

## Slide 13: DRAINAGE AREA 5.1
Identify the individual drainage areas.

## Slide 14: DRAINAGE AREA 5.2
Identify the individual drainage areas.

## Slide 15: DRAINAGE AREA 5.3
Identify the individual drainage areas.

## Slide 16: DRAINAGE AREA 6.1
Identify the individual drainage areas.

## Slide 17: DRAINAGE AREA 7.1
Identify the individual drainage areas.

## Slide 18: Calibrate area measurement tool
Measure areas using Acrobat Pro
  Need to measure a known area
  Save the conversion factor
Area =400X400/43560 = 3.67 acres
A = 3.67 acres

## Slide 19: Calibrate area measurement tool
Measure areas using Acrobat Pro
  Activate the measurement toolkit
  Select Area
  Measure the orange rectangle
  Save the conversion factor: 2.43 sq.in. == 3.67 acres
A = 3.67 acres

## Slide 20: DRAINAGE AREA 1.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres. (ENGAUGE, PLANIMETER, etc)
Area = 1.50*3.67/2.43 = 2.26 acres
A = 3.67 acres

## Slide 21: DRAINAGE AREA 1.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres. (ENGAUGE, PLANIMETER, etc)
Area = 0.84*3.67/2.43 = 1.26 acres
A = 3.67 acres

## Slide 22: DRAINAGE AREA 2.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 2.58*3.67/2.43 = 3.89 acres
A = 3.67 acres

## Slide 23: DRAINAGE AREA 2.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.35*3.67/2.43 = 0.53 acres
A = 3.67 acres

## Slide 24: DRAINAGE AREA 3.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.45*3.67/2.43 = 0.68 acres
A = 3.67 acres

## Slide 25: DRAINAGE AREA 3.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.30*3.67/2.43 = 0.45 acres
A = 3.67 acres

## Slide 26: DRAINAGE AREA 3.3
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.05*3.67/2.43 = 1.58 acres
A = 3.67 acres

## Slide 27: DRAINAGE AREA 4.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.33*3.67/2.43 = 2.01 acres
A = 3.67 acres

## Slide 28: DRAINAGE AREA 4.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.44*3.67/2.43 = 0.66 acres
A = 3.67 acres

## Slide 29: DRAINAGE AREA 5.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.78*3.67/2.43 = 1.17 acres
A = 3.67 acres

## Slide 30: DRAINAGE AREA 5.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.44*3.67/2.43 = 0.66 acres
A = 3.67 acres

## Slide 31: DRAINAGE AREA 5.3
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.16*3.67/2.43 = 1.75 acres
A = 3.67 acres

## Slide 32: DRAINAGE AREA 6.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.36*3.67/2.43 = 0.54 acres
A = 3.67 acres

## Slide 33: DRAINAGE AREA 7.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.44*3.67/2.43 = 2.17 acres
A = 3.67 acres

## Slide 34: Estimate runoff coefficients
For each area estimate a runoff coefficient
Usually based on a table lookup and surface description

## Slide 35: DRAINAGE AREA 1.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres. (ENGAUGE, PLANIMETER, etc)
Area = 1.50*3.67/2.43 = 2.26 acres
C = 0.65
A = 3.67 acres

## Slide 36: DRAINAGE AREA 1.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres. (ENGAUGE, PLANIMETER, etc)
Area = 0.84*3.67/2.43 = 1.26 acres
C = 0.80
A = 3.67 acres

## Slide 37: DRAINAGE AREA 2.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 2.58*3.67/2.43 = 3.89 acres
C= 0.70
A = 3.67 acres

## Slide 38: DRAINAGE AREA 2.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.35*3.67/2.43 = 0.53 acres
C = 0.80
A = 3.67 acres

## Slide 39: DRAINAGE AREA 3.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.45*3.67/2.43 = 0.68 acres
C = 0.70
A = 3.67 acres

## Slide 40: DRAINAGE AREA 3.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.30*3.67/2.43 = 0.45 acres
C = 0.85
A = 3.67 acres

## Slide 41: DRAINAGE AREA 3.3
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.05*3.67/2.43 = 1.58 acres
C = 0.65
A = 3.67 acres

## Slide 42: DRAINAGE AREA 4.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.33*3.67/2.43 = 2.01 acres
C = 0.75
A = 3.67 acres

## Slide 43: DRAINAGE AREA 4.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.44*3.67/2.43 = 0.66 acres
C = 0.85
A = 3.67 acres

## Slide 44: DRAINAGE AREA 5.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.78*3.67/2.43 = 1.17 acres
C = 0.70
A = 3.67 acres

## Slide 45: DRAINAGE AREA 5.2
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.44*3.67/2.43 = 0.66 acres
C = 0.65
A = 3.67 acres

## Slide 46: DRAINAGE AREA 5.3
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.16*3.67/2.43 = 1.75 acres
C = 0.55
A = 3.67 acres

## Slide 47: DRAINAGE AREA 6.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 0.36*3.67/2.43 = 0.54 acres
C = 0.75
A = 3.67 acres

## Slide 48: DRAINAGE AREA 7.1
Identify the individual drainage areas.
Determine the area of each contributing area, in acres.
Area = 1.44*3.67/2.43 = 2.17 acres
C = 0.70
A = 3.67 acres

## Slide 49: IDENTIFY AND MEASURE CONDUIT LENGTHS
Use ACROBAT to measure distances between Node ID
Select distance tool
Measure the 400 foot scale
Save scale factor 1.51 in == 400 feet

## Slide 50: PIPE 1.1
Connects 1.1 to 2.1
Length = 1.57*400/1.51 = 415 ft
Repeat for all the other pipes

## Slide 51: Gather the information into a spreadsheet
Build a sheet with the information
Note the naming convention (a bit awkward, but faithful to the original example)

## Slide 52: Determine inlet times for each drainage area
Measure actual best-guess flow path
  Find Slope (737.5 – 732.3)/(0.92*400/1.51) = 5.2ft/243.7 ft = 0.021 (2.1%)
  Determine some kind of cover
  Apply NRCS Velocity, NRCS Upland, or Kerby-Kirpich
  Use method that makes most sense

## Slide 53: Determine inlet times for each drainage area
NRCS Upland Method
Measure actual best-guess flow path
  Path = 243.7 ft
  Slope = 0.021 (2.1%)
Inlet Time ~ 11 minutes
Repeat for each drainage area, populate spreadsheet

## Slide 54: Determine inlet times for each drainage area
Repeat for each drainage area, populate spreadsheet

## Slide 55: Estimate pipe slopes
Use the node elevations and topographic map to estimate pipe slopes
Contour lines
Elevation Markers

## Slide 56: Estimate pipe slopes
Use the node elevations and topographic map to estimate pipe slopes
Populate the spreadsheet

## Slide 57: Intensity equation
Next we will need to precipitation information for the design.
Easiest for this example is to build an IDF curve for the location.
The basin in the example is in Urbana, Illinois – Use NOAA Atlas 14
For the example use a 2-yr ARI

## Slide 58: Intensity equation
Download the table
Use the 2-nd column

## Slide 59: Intensity equation
Download the table
Use the 2-nd column
Use solver to fit
Use this equation for estimating intensity and runoff

## Slide 60: Intensity equation
Intensity function for the example:
This can be coded into an analysis spreadsheet directly

## Slide 61: Begin with most upstream node
Intensity Equation
Rational Method
Discharge to Inlet