CE 3372 Exercise Set 3 – Solution Sketch

1) Use EPANET to compute the discharge in each pipe and the pressure at each junction node for the 8-pipe system shown in Figure 1.

Figure 1.  Copy of Figure 1 from Problem Statement

The water surface elevation in the storage tank is 315.0 ft.  Prepare your solution using EPA-NET. Report your results in U.S. Customary units.   Include a screen capture of the working simulation and the EPANET generated summary report.

Explain how you used the friction factors1

Figure 2.  Screen Capture Completed EPANET simulation showing node pressures in pounds per square inch, and pipe discharge in cubic feet per second.

Figure 3.  Screen capture of EPANET simulation showing computed friction factors for each pipe.

Friction factors supplied in the problem statement were matched (as best as possible) by adjusting roughness height in EPANET then running the simulation.  Table 1 below is a listing of the supplied values and computed values.

Table 1.  Supplied and Computed Friction Factors

Summary Report (Generated by EPANET)

Page 1                                             2/9/2015 6:16:38 PM

**********************************************************************

*                             E P A N E T                            *

*                     Hydraulic and Water Quality                    *

*                     Analysis for Pipe Networks                     *

*                           Version 2.0                              *

**********************************************************************

Input File: exercise005-1-1.net

Link - Node Table:

----------------------------------------------------------------------

Link           Start          End                Length  Diameter

ID             Node           Node                   ft        in

----------------------------------------------------------------------

1              2              3                    4000        10

2              3              4                    6000        10

3              2              5                    6000        12

4              3              6                    6500        24

5              4              7                    7000        10

6              5              6                    3000        18

7              6              7                    5000        10

8              9              3                     300        12

Node Results:

----------------------------------------------------------------------

Node                Demand      Head  Pressure   Quality

ID                     CFS        ft       psi

----------------------------------------------------------------------

2                     1.11    284.88     49.78      0.00

3                     1.11    292.57     48.77      0.00

4                     1.11    258.00     40.29      0.00

5                     3.33    284.86     56.27      0.00

6                     2.22    286.92     59.33      0.00

7                     3.33    249.00     45.06      0.00

9                   -12.21    315.00     58.50      0.00 Tank

Link Results:

----------------------------------------------------------------------

Link                  Flow  VelocityUnit Headloss    Status

ID                     CFS       fps    ft/Kft

----------------------------------------------------------------------

1                    -1.18      2.15      1.92      Open

2                     2.06      3.79      5.76      Open

3                     0.07      0.08      0.00      Open

4                     7.86      2.50      0.87      Open

5                     0.95      1.75      1.29      Open

6                    -3.26      1.85      0.69      Open

7                     2.38      4.36      7.58      Open

8                    12.21     15.55     74.78      Open